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	STR-1791
STATIONARY VALVE REGULETED LEAD-ACID (VRLA) POWER BATTERIES

 FOR SUBSTATIONS AND SWITCHING STATIONS  

Annexure "C"
  SUMMARY OF PRICES



An Interactive accessible form 
Please complete the form using your computer in accordance to the data in the fields.



Tender number: ___________

Currency of the Offer: _________

Country of origin: ___________

Name of Supplier: ____________



General instructions 

1.1. Prices for the above captioned tender must be inserted in this annexure only.
1.2. Prices may not be contingent upon quantities or otherwise.
1.3. All items hereunder determined in STR-1791 technical specification.
1.4. The Firm Price of Item 1: 220[V], 175 [AH] stationary GEL valve regulated lead-acid (VRLA) OPzV power battery shall include:
1.4.1. Samples (in accordance with Annexure "B" sub-clause 4.3.3.1).
1.4.2. Evacuation of the old battery from the Purchaser's site – in parallel with the supplying and erection of the new battery on the same site (in accordance with Annexure "B" sub-clause 4.3.3.5).
1.4.3. Erection (in accordance with Annexure "B" sub-clause 4.3.3.3).
1.4.4. Start-Up supervision (in accordance with Annexure "B" sub-clause 4.3.3.4).
1.4.5. Technical documentation (in accordance with Annexure "B" sub-clause 4.3.3.6).
the table’s direction was mistakenly set to right to left therefore it is read accordingly
	Offered total Price
(insert prices in this column)
	Offered Price per unit
(insert prices in this column)
	Quantities
	Data

	Prices for equipment:

	
	
	120
	1.5. Item 1: 220 (V), 175 (AH) (or the nearest higher Manufacturer standard) stationary gel valve regulated lead-acid (VRLA) OPzV power battery type in accordance with Specification STR-1791

	
	
	120
	1.6. Item 2:
 Battery management system (BMS) with continuous visibility (LCD and LED indications) and remote indication (via dry alarm contacts) of battery health and status with communication facilities. The “End User License Agreement” and “Software/Firmware Maintenance Agreement” of the BMS shall be included, all in accordance with Specification STR-1791

	
	
	120
	1.7. Item 3: 
Racks for battery installation: The racks shall be PASSONI ALPHA rack ©, earthquake proof, white epoxy powder coated with corrosion resistance and good electrical isolation in accordance with Manufacturer standard, suitable for direct floor fastening by screws. The racks shall be able to arrange the cells in horizontal position in 3 or more levels (maximum height: 1.60 [m]).

	Offered total Price
(insert prices in this column)
	Offered Price per Service Unit
(insert prices in this column)
	Quantity
	2. Prices for services: 

	
	
	1 
	2.1. Item 4: 5 days Battery and battery management system (BMS) training course in accordance with Specification STR-1791 in accordance with Annexure "B" sub-clause 4.3.1.3. Price for training course shall include all related expenses (flight, hotel, transportation etc.)

	
	
	 10 
	2.2. Item 5: Lifting services - for battery rooms that are situated on upper floors within the building. To accommodate the removal of existing batteries and racks and installation of new ones, the contractor will arrange and provide a crane or other appropriate lifting equipment (lifting Service per Battery Room).



	3. Price for spare parts:

	4.1. Price for Item 6: set of recommended spare parts for the warranty period and until 5 (five) years after expiration of the warranty period (in accordance with the list of recommended spare parts, see Annexure “B”, sub-clause 4.3.1.4).



	Spare Part No.
	Spare part description
	Quantity per set
	Unit price
	Set price

	For the warranty period and until 5 (five) years after expiration of the warranty period

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	

	
	
	
	
	





	5.1. Price for Item 7- optional: 
Special equipment, tools, and instruments (in accordance with the list of recommended Special tools, see Annexure “B”, sub-clause 4.3.2).


4. Price for optional equipment:

	No.
	tool description
	Recommended Quantity per set
	Unit price
	Set price

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	



	
	Signature of Contractor

	
	Name and title of signing officer

	
	Date of Proposal
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