## Terms and Definitions
Head of table
Term | Definition | Right border of the table
asset | physical or logical object having either a perceived or actual value to the IACS
asset owner | individual or company responsible for one or more IACS
attack | unauthorized attempt to compromise the confidentiality, integrity or availability of an IACS that derives from an intelligent threat
authentication | verification of the claimed identity of an entity
authenticator | means used to confirm the identity of an entity
authenticity | property that an entity is what it claims to be through authentication of origin and verification of integrity
availability | property of ensuring timely and reliable access to and use of control system information and functionality
communication channel | specific logical or physical communication link between assets
compensating countermeasure | countermeasure employed in lieu of or in addition to inherent security capabilities to satisfy one or more security requirements
component | entity belonging to an IACS that exhibits the characteristics of one or more of a host device, network device, software application, or embedded device
conduit | logical grouping of communication channels, connecting two or more zones, that share common security requirements
confidentiality | assurance that information is not disclosed to unauthorized individuals, processes, or devices
connection | association established between two or more endpoints that supports the establishment of a session
control system | hardware and software components of an IACS
countermeasure | action, device, procedure or technique that reduces a threat, a vulnerability or the consequences of an attack by minimizing the harm the attack can cause or by discovering and reporting it so that corrective action can be taken
degraded mode | mode of operation in the presence of faults that have been anticipated in the design of the control system
device | discrete physical asset that provides a set of capabilities
embedded device | special purpose device designed to directly monitor or control an industrial process
environment | surrounding objects, region or circumstances that may influence the behaviour of the IACS and/or may be influenced by the IACS
essential function | function or capability that is required to maintain health, safety, the environment (HSE) and availability for the equipment under control
event | occurrence of or change to a particular set of circumstances
firecall | method established to provide emergency access to a secure control system
host device | general purpose device running an operating system (for example Microsoft Windows OS or Linux) capable of hosting one or more software applications, data stores or functions from one or more suppliers
identifier | pattern of symbols, unique within its security domain, that identifies, indicates or names an entity that makes an assertion or claim of identity
incident | event that is not part of the expected operation of a system or service that causes, or may cause, an interruption to, or a reduction in, the quality of the service provided by the control system
industrial automation and control system | collection of personnel, hardware, software and policies involved in the operation of the industrial process and that can affect or influence its safe, secure and reliable operation
integrity | property of protecting the accuracy and completeness of assets
least privilege | basic principle that holds that users (humans, software processes or devices) should be assigned the fewest privileges consistent with their assigned duties and functions
mobile code | program transferred between assets that can be executed without explicit installation by the recipient
mobile device | intelligent electronic device intended for use while being transported
network device | device that facilitates data flow between devices, or restricts the flow of data, but may not directly interact with a control process
non-repudiation | ability to prove the occurrence of a claimed event or action and its originating entities
product supplier | manufacturer of hardware and/or software product
remote access | access to a component by any user (human, software process or device) communicating from outside the perimeter of the zone being addressed
role | set of connected behaviors, privileges and obligations that may be assigned to a user or group of users (humans, software processes or devices) of an IACS
safety instrumented system | system used to implement one or more safety-related functions
security level | level corresponding to the required set of countermeasures and inherent security properties of devices and systems for a zone or conduit based on assessment of risk for the zone or conduit
session | semi-permanent, stateful and interactive information interchange between two or more communicating components
session ID | identifier used to indicate a specific session
set point | target value identified within a control system that controls one or more actions within the control system
software application | one or more software programs and their dependencies that are used to interface with the process or the control system itself (for example, configuration software and historian)
system integrator | service provider that specializes in bringing together component subsystems into a whole and ensuring that those subsystems perform in accordance with project specifications
threat | set of circumstances and associated sequence of events with the potential to adversely affect operations (including mission, functions, image or reputation), assets, control systems or individuals via unauthorized access, destruction, disclosure, modification of data and/or denial of service
trust | confidence that an operation, data transaction source, network or software process can be relied upon to behave as expected
untraceability | assurance that information cannot be used to track the time or location of a specific user
untrusted | not meeting predefined requirements to be trusted
update | incremental hardware or software change in order to address security vulnerabilities, bugs, reliability or operability issues
upgrade | incremental hardware or software change in order to add new features
zone | collection of entities that represents partitioning of a system under consideration on the basis of their functional, logical and physical (including location) relationship
End of table

## FR 1-7
Head of table
FR 1-7 | [7 empty] | Right border of the table
Component Security Requirement (CR) | Title | Description | Requirement Enhancements | Compliant | Non-Compliant | Deviation | Comments
1.1 | Human user identification and authentication | Components shall provide the capability to identify and authenticate all human users.This capability shall enforce segregation of duties and least privilege in accordance with applicable security policies and procedures. This capability may be provided locally by the component or by integration into a system level identification and authentication system. Components shall provide the capability to employ multifactor authentication for all human user access to the component. Unique identification and authentication - Components shall provide the capability to uniquely identify and authenticate all human users. Multifactor authentication for all interfaces - Components shall provide the capability to employ multifactor authentication for all human user access to the component via all existing interfaces. | RE 1 - Unique identification and authentication: Components shall provide the capability to uniquely identify and authenticate all human users. RE 2 - Multifactor authentication for all interfaces: Components shall provide the capability to employ multifactor authentication for all human user access to the component via all existing interfaces.
1.3 | Account management | Components shall provide the capability to support the management of all accounts directly or integrated into a system that manages accounts. | -
1.4 | Identifier management | Components shall provide the capability to integrate into a system that supports the management of identifiers and/or provide the capability to support the management of identifiers directly. | -
1.1 | Authenticator feedback | When a component provides an authentication capability, the component shall provide the capability to obscure feedback of authenticator information during the authentication process | -
1.11 | Unsuccessful login attempts | When a component provides an authentication capability, the component shall provide the capability to: a) enforce a limit of a configurable number of consecutive invalid access attempts by any user (human, software process or device) during a configurable time period; b) deny access for a specified period of time or until unlocked by an administrator when this limit has been reached. | -
1.12 | System use notification | When a component provides local human user access/HMI, it shall provide the capability to display notification banner. The system use notification message shall be configurable by authorized personnel. | -
2.1 | Authorization enforcement | Components shall provide an authorization enforcement mechanism for all identified and authenticated users based on their assigned responsibilities. Authorization enforcement for all users (humans, software processes and devices) - Components shall provide an authorization enforcement mechanism for all users based on their assigned responsibilities and least privilege. Permission mapping to roles - Components shall, directly or through a compensating security mechanism, provide for an authorized role to define and modify the mapping of permissions to roles for all human users. Roles should not be limited to fixed nested hierarchies in which a higher-level role is a super set of a lesser privileged role. For example, a system administrator should not necessarily encompass operator privileges. Supervisor override - Components shall support a supervisor manual override for a configurable time or sequence of events. Dual approval - Components shall support dual approval when action can result in serious impact on the industrial process. | RE 1 - Authorization enforcement for all users (humans, software processes and devices): Components shall provide an authorization enforcement mechanism for all users based on their assigned responsibilities and least privilege. RE 2 - Permission mapping to roles: Components shall, directly or through a compensating security mechanism, provide for an authorized role to define and modify the mapping of permissions to roles for all human users. Roles should not be limited to fixed nested hierarchies in which a higher-level role is a super set of a lesser privileged role. For example, a system administrator should not necessarily encompass operator privileges. RE 3 - Supervisor override: Components shall support a supervisor manual override for a configurable time or sequence of events. RE 4 - Dual approval: Components shall support dual approval when action can result in serious impact on the industrial process.
2.2 | Wireless | The equipment will not include any radio hardware components for wireless communication such as WiFi, Bluetooth, IR, etc. | RE 1 – Identify and report unauthorized wireless devices: The control system shall provide the capability to identify and report unauthorized wireless devices transmitting within the control system physical environment.
2.8 | Auditable events | Components shall provide the capability to generate audit records relevant to security for the following categories: a) access control; b) request errors; c) control system events; d) backup and restore event; e) configuration changes; and f) audit log events. Individual audit records shall include: a) timestamp; b) source (originating device, software process or human user account); c) category; d) type; e) event ID; and f) event result. | -
2.11 | Timestamps | Components shall provide the capability to create timestamps (including date and time) for use in audit records. Time synchronization - Components shall provide the capability to create timestamps that are synchronized with a system wide time source. Protection of time source integrity - The time synchronization mechanism shall provide the capability to detect unauthorized alteration and cause an audit event upon alteration. | RE 1 - Time synchronization: Components shall provide the capability to create timestamps that are synchronized with a system wide time source. RE 2 - Protection of time source integrity: The time synchronization mechanism shall provide the capability to detect unauthorized alteration and cause an audit event upon alteration.
2.12 | Non-repudiation | If a component provides a human user interface, the component shall provide the capability to determine whether a given human user took a particular action. Control elements that are not able to support such capability shall be listed in component documents. Non-repudiation for all users - Components shall provide the capability to determine whether a given user (human, software process or device) took a particular action. | RE 1 - Non-repudiation for all users: Components shall provide the capability to determine whether a given user (human, software process or device) took a particular action.
2.13 | Use of physical diagnostic and test interfaces | The use of physical diagnostic and test interfaces requirements are component-specific and can be located as requirements for each specific component type in Clauses 12 through 15. | -
3.5 | Input validation | Components shall validate the syntax, length and content of any input data that is used as an industrial process control input or input via external interfaces that directly impacts the action of the component. | -
3.6 | Deterministic output | Components that physically or logically connect to an automation process shall provide the capability to set outputs to a predetermined state if normal operation as defined by the component supplier cannot be maintained. | -
3.7 | Error handling | Components shall identify and handle error conditions in a manner that does not provide information that could be exploited by adversaries to attack the IACS. | -
3.8 | Session integrity | Components shall provide mechanisms to protect the integrity of communications sessions including: a) the capability to invalidate session identifiers upon user logout or other session termination (including browser sessions); b) the capability to generate a unique session identifier for each session and recognize only session identifiers that are system-generated; and c) the capability to generate unique session identifiers with commonly accepted sources of randomness. | -
3.1 | Support for updates | The support for updates requirements are component-specific and can be located as requirements for each specific device type in Clauses 12 through 15. | -
3.12 | Provisioning product supplier roots of trust | The provisioning product supplier roots of trust requirements are component-specific and can be located as requirements for each specific device type in Clauses 12 through 15. | -
3.13 | Provisioning asset owner roots of trust | The provisioning asset owner roots of trust requirements are component-specific and can be located as requirements for each specific device type in Clauses 12 through 15. | -
3.14 | Integrity of the boot process | The integrity of the boot process (firmware and operating system) requirements are component-specific and can be located as requirements for each specific device type in Clauses 12 through 15. | -
4.3 | Use of cryptography | If cryptography is required, the component shall use cryptographic security mechanisms according to internationally recognized and proven security practices and recommendations. | -
5.1 | Network segmentation | Components shall support a segmented network to support zones and conduits, as needed, to support the broader network architecture based on logical segmentation and criticality. | -
6.1 | Audit log accessibility | Components shall provide the capability for authorized humans and/or tools to access audit logs on a read-only basis. Programmatic access to audit logs - Components shall provide programmatic access to audit records by either using an application programming interface (API) or sending the audit records to a centralized system. | RE 1 - Programmatic access to audit logs: Components shall provide programmatic access to audit records by either using an application programming interface (API) or sending the audit records to a centralized system.
6.2 | Continuous monitoring | Components shall provide the capability to be continuously monitored using commonly accepted security industry practices and recommendations to detect, characterize and report security breaches in a timely manner. | -
7.2 | Resource management | Components shall provide the capability to limit the use of resources by security functions to protect against resource exhaustion. | -
7.4 | Control system recovery and reconstitution | Components shall provide the capability to be recovered and reconstituted to a known secure state after a disruption or failure. | -
7.6 | Network and security configuration settings | Components shall provide the capability to be configured according to recommended network and security configurations as described in guidelines provided by the control system supplier. The component shall provide an interface to the currently deployed network and security configuration settings. Machine-readable reporting of current security settings - Components shall provide the capability to generate a report listing the currently deployed security settings in a machine-readable format. | RE 1 - Machine-readable reporting of current security settings: Components shall provide the capability to generate a report listing the currently deployed security settings in a machine-readable format.
7.7 | Least functionality | Components shall provide the capability to specifically restrict the use of unnecessary functions, ports, protocols and/or services. | -
End of table, end of file