RELIABILITY, AVAILABILITY, MAINTAINABILITY AND
 SAFETY

טּוֹפֵס אִינְטֵראַקּטִיבִי נַגִּישׁ.
אנא מַלאו אֶת הטּוֹפְס בְּאֶמְצָעוּת הַמְחַשֵׁב לְפִי הַנְתּוּנִים הָמוֹפִעִים בָּשַׂדוֹת
ומוקראים עַל יְדֵי קוֹרֵא הַמָּסָך

# 1. Definitions

The following definitions are valid for a product's reliability, availability, maintainability and safety terms relevant to this tender:

# RAMS

# RAMS is the acronym of Reliability, Availability, Maintainability and Safety.

# RELIABILITY

Reliability is the ability of the item to perform its intended function for a specified time interval and under stated conditions. Therefore, for non-redundant equipment, reliability is the probability that the equipment will perform without failure, for at least a specified period of time (i.e. the time between periodical checks or preventive maintenance actions), when used under stated conditions (in IECo sites).

# AVAILABILITY

Availability is the probability that the equipment is in operational condition at any point in time along its life length.

# MAINTAINABILITY

Maintainability is a design characteristic defining the ability of the equipment to be restored to its operable condition after a failure, within a given time period, under stated conditions, using stated procedures and resources. MTTR is a maintainability parameter.

# SAFETY

Safety is the attribute of the equipment to avoid the following events:

- Endangering human life or health.

- Property damage.

- Substantial economic loss.

- Environmental damage.

# FAILURE

Failure is any event that causes equipment to cease operation, or functions outside of its specification limits, and requires its repair/replacement.

Failure rate (FR) is the average number of failures per operating time unit at the end of the first year of installation and operation.

# 2. Contractor shall declare the following RAM parameters as per:

# TABLE 1 (RAM data for Earthing Transformer)

| Component | FR (1/years) | GPOTF (%/year) | MTTR (hours) | EOL (years) | MTBPM (years) | MTTPM (hours) |
| --- | --- | --- | --- | --- | --- | --- |
| Tank |  |  |  |  |  |  |
| Cooling system |  |  |  |  |  |  |
| Oil and oil preservation system |  |  |  |  |  |  |
| Windings |  |  |  |  |  |  |
| Gaskets |  |  |  |  |  |  |
| Bushings |  |  |  |  |  |  |
| Bushing's current transformer |  |  |  |  |  |  |
| Auxiliary and control circuits |  |  |  |  |  |  |
| Accessories |  |  |  |  |  |  |
| Others (please indicate) |  |  |  |  |  |  |

Where:    FR         - Failure Rate

GPOTF - Gamma-Percentage Operating Time to Failure – the time during which an item failure shall not occur with a particular probability expressed as a percentage, for example, 95% operating time to failure within at least 5 years means that during 5 years operation failed devices shall make up a maximum of 5% of all devices in service.

MTTR    - Mean Time to Repair

EOL       - Expected Operating Life

MTBPM - Mean Time Between Preventive Maintenance

MTTPM – Mean Time to (perform) Preventive Maintenance

Please fill in table 2 or table 3 depending on the experience filled in appendix 10, cl. 2:

TABLE 2 (Field Demonstrated RAM data for similar* Earthing Transformers during years 2020-2024)

| 2024 | 2023 | 2022 | 2021 | 2020 | Year Field RAMS data |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Total number of installed ETs |
|  |  |  |  |  | Total number of repairs or replacements for any reason |
|  |  |  |  |  | Failures due to wrong design |
|  |  |  |  |  | Failures due to faulty production |
|  |  |  |  |  | Failures due to bad use/handling |
|  |  |  |  |  | Random failures |
|  |  |  |  |  | Mean time to repair/replace |

TABLE 3 (Field Demonstrated RAM data for similar* Earthing Transformers during years 2021-2025)

| 2025 | 2024 | 2023 | 2022 | 2021 | Year Field RAMS data |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Total number of installed ETs |
|  |  |  |  |  | Total number of repairs or replacements for any reason |
|  |  |  |  |  | Failures due to wrong design |
|  |  |  |  |  | Failures due to faulty production |
|  |  |  |  |  | Failures due to bad use/handling |
|  |  |  |  |  | Random failures |
|  |  |  |  |  | Mean time to repair/replace |

* "Similar" equipment defined as follows:

24 kV (or higher voltage), 250 A for 1 hour (or higher current) earthing zigzag transformers.

# 3. Safety

The Contractor shall design all the equipment in such a manner that it shall not endanger in any way any human being, neither property, nor it causes any environmental damage.

The contractor shall indicate which safety standards the offered equipment complies with, and how he verifies that the equipment really complies with these standards.