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Annexure BB - Threshold Conditions 
220[V], 175[AH] STATIONARY GEL VALVE REGULATED LEAD-ACID (VRLA) POWER BATTERIES

for substations and switching stations
Specification STR-1791
A. Participation in the tender proceedings is conditioned upon meeting or exceeding the below-stated threshold conditions:

1. The Manufacturer of the offered batteries in this tender is required to fulfill one of the following:
1.1. Shall be the Bidder in this tender
1.2. Shall be one of the Bidders in the event of submission of a joint proposal.
1.3. In the event the Bidder is not the Manufacturer of the offered batteries in this tender, then it shall sign Declaration № 1 (see below) attesting its commitment to all the Bidder's obligations to IECo. (relating to warranty, technical support, etc.)

Professional Experience:

2.1. 220[V], 175[AH] stationary gel VRLA power batteries 

1.1.1. The Manufacturer of the offered batteries has proven previous experience of at least 5 years in production and supply of similar equipment ("similar": defined as at least 2 [VDC], 100[Ah] - 1000 [Ah] batteries.

1.1.2.  The required experience to be exhibited is for supply of battery cells, as defined in subcl. 2.1.1, that were supplied to industrial facilities, power stations or electricity utilities sites in the years 2020-2024, or 2021-2025, in a quantity of at least 50 units for each calendar year, and at least 500 units in total.

1.1.3. In order to prove compliance with above-mentioned condition, the bidder is required to submit the following table, duly filled and signed by a qualified officer on behalf of the manufacturer:

An Interactive accessible form 
Please complete the form using your computer in accordance to the data in the field

	№
	Product description (model, nominal voltage and capacity)

	Qty.
	Purchaser name & country
	Supply year

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	

	5
	
	
	
	



IECo.  reserve the right to ask for contact details (E-mail, Tel. No) for the a.m Purchasers

Signature of qualified officer on behalf of the manufacturer: ____________________ (please sign)
 

1.2. BMS- Battery Management System 
1.2.1. The Manufacturer of the offered BMS has proven previous experience of at least 5 years in production and supply of similar equipment ("similar": defined battery management systems).  
1.2.2. The required experience is for supplying at least ten (10) BMS in total, as defined in subcl. 2.2.1, over the period 2020-2024, to industrial facilities, power stations or electricity utilities sites.
1.2.3. To prove compliance with above-mentioned condition, the bidder is required to submit the following table, duly filled and signed by a qualified officer on behalf of the manufacturer:

	№
	Product description (model) 

	Qty.
	Purchaser name & country
	Supply year

	1
	
	
	
	

	2
	
	
	
	

	3
	
	
	
	

	4
	
	
	
	

	5
	
	
	
	



IECo.  reserve the right to ask for contact details (E-mail, Tel. No) for the a.m Purchasers


Signature of qualified officer on behalf of the manufacturer: ____________________ (please sign)

Undertaking regarding personnel

3.1 During the contract period and up until the end of the warranty period, the Bidder shall appoint at least one (1) technical English or Hebrew speaking engineer on each of the following stages: design, production, supervising, training, operation, maintenance, and after sale service.

To comply with this requirement, the Bidder is required to submit Declaration № 2 (see below), duly filled in and signed.

3.2 The Bidder offering of the batteries and BMS shall have its own installation team / a subcontractor in Israel who is authorized by the manufacturers (for both batteries and BMS) to perform the services required in the specification STR-1791(installation, start-up supervision, integration, calibration, on-site testing, evacuation of old batteries and racks from IEC sites, conducting training course, etc.). To prove compliance with this condition, the bidder must attach to his bid declarations or certifications from the manufacturers (for both batteries and BMS) proving that his representation in Israel can provide these services. 
         
2. Quality Management System (QMS)
The bidder shall submit a certificates attesting compliance of the manufacturer of batteries  with the requirements of the international standard ISO 9001 valid for the scope of supply required in the Specification.

The certificate must bear the symbol (logo), the name of the certifying body, and the
name of the accreditation body and its symbol (logo).
The date of validity of the certificate and the edition of the ISO 9001 standard shall be valid on the last date set for submission of proposals in the tender.

the certifying body must be accredited by an accreditation body that is a member of International Accreditation Forum Multilateral Arrangement – IAF MLA.

3. Compliance with all Preliminary Conditions described in attached Environmental Appendix (Annexure BB1).














TO: THE ISRAEL ELECTRIC CORPORATION LIMITED (IECo.) 
SUBJECT: DECLARATION №1 FOR MANUFACTURER’S COMMITMENTS
1. We (The Manufacturer of the offered batteries)	, Registration №	, present this letter of undertaking as part of the proposal of "the Bidder"                                in Tender № ________
2. We declare that we have inspected the representations, declarations, and commitments included in the Bidder's proposal for the Tender and the Agreement and have closely read the instructions of the order and the agreement which impose restrictions and direct obligations on our Company, and we undertake in full, absolutely and unequivocally all obligations of the Bidder in their entirety, as detailed in the Tender Documents, and specifically, the powers conferred by them to Israel Electric Corporation (IECo.), and declare that each of the representations, declarations, and undertakings as stated shall be considered as issued by the Bidder and our company jointly and severally.
3. We undertake to provide and make available to the Bidder and the Israel Electric Corporation (IECo.), all the know-how, experience, manpower, equipment, technical support, warranty, and anything else required for the execution of the provisions of the Tender and the Agreement, and to perform all that is necessary for the fulfillment of the Agreement and the performance of the Works / Services efficiently, continuously and following the timetables, skill and of the highest level, following best professional practice and with the utmost diligence, dedication, and loyalty, to the satisfaction of the Israel Electric Corporation (IECo.).
Our undertaking towards you as stated in this document will remain valid until the end of the contract period.


	
	Bidder
	
	Manufacturer

	Company name:
	
	
	

	Signing officer name:
	
	
	

	Signing officer title:
	
	
	

	E-mail:
	
	
	

	Tel:
	
	
	

	Signature:
	
	
	

	Date:
	
	
	

	Stamp:
	
	
	






TO: THE ISRAEL ELECTRIC CORPORATION LIMITED (IECo.)  
SUBJECT: DECLARATION № 2 FOR BIDDER / MANUFACTURER’S COMMUNICATION CONFORMANCE

We (bidder) _______________
Registration №________________________
Present this letter of undertaking as a part of Tender №______________

1. and undertake to provide at least one technical English or Hebrew fluent speaking engineer on our behalf and/or behalf of manufacturer/s, during the contract period and up until the end of the warranty period, on each of the following stages: design, production, supervising, integration, calibration ,operation, training, maintenance, and after sale service.




	
	Bidder
	

	Company name:
	
	

	Signing officer name:
	
	

	Signing officer title:
	
	

	E-mail:
	
	

	Tel.:
	
	

	Signature:
	
	

	Date:
	
	

	Stamp:
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